Crest of the embankment pictured from the middle showing both directions.

The most significant burrow found on the crest of the embankment.

Vegetation on the fenceline of the upstream embankment.

The possible seep occurs at the tower of the dam between the two stands of trees.

The service inlet structure needs to be cleaned out.

The service outlet structure is in good condition.Erosion in service spillway.